Social Mouse Protocol (Ver_2.3.5)

Pre-Label the social mouse videos

- Currently taking the video, placing it in PowerPoint, using an “x” as markers of where I want labels to be

- Making the “x” as small as possible while also making it the lightest gray that can still be distinguishable

- Take a screen record of the video running while in PowerPoint to have the video completely labeled.

- Then use Cropping video tool (clideo) to crop the video so that only the original video is shown

DeepLabCut Use

- Open Anaconda Prompt by searching for it in the bottom left search bar.

- Type “activate DLC-GPU-2.3.5”, press enter, and type “python -m deeplabcut”

- DeepLabCut welcome page will open

- Click on manage project

- 2-1) After writing the project name and experimenter name, check the project folder checkbox below.

  - When selecting a video in Browse Videos, there is a bug in which the selection is not activated, so move the video by drag & drop.

  - There is a bug that does not recognize MPEG files in the latter half of the process, so convert the video and use the MP4 file.

  - Make sure that you do not change the file location of the videos once you have imported them

  - Press create once all fields are filled.

- Edit Configuration File

- Find the Config.yaml file in your path and open it

- The blue box is predetermined by the information imported in the last step and cannot be changed in the file

- The information in the red box needs to be changed for each project. These are the names of the desired labels you would like to use

- The start and stop portion do not need to be altered

- The numframes2pick represents the number of frames being extracted. For accurate analysis, a couple hundred frames should be picked.

- The green box represents the skeleton. It is basically the connection between each label and can be displayed in the final video.

- Make sure to save the file (Ctrl+S)

- - : Start point

- : End point

- Click the Edit Config.yaml button to verify

that the list has been replaced correctly.

- Extract Frames

- Click on the tab in the top called “Extract Frames”

- All the settings are set to default and are fine to use in this setting

- The green box represents the cropping parameters. For better analysis, it is good to crop the frame by GUI. A different interface will pop up with a frame of the video, draw a box around the area the mouse is in, and then press the crop button.

- Once done press Extract Frames in the bottom, Right

- Click the Crop button after specifying the desired area by drag & drop method

- When the system below is displayed, click OK and go to the next step.

- Label Frames

- Click the tab on the top that it called “Label Frames”

- Click on the bottom left corner Top that is called “Label Frames”

- A different interface will appear. Load the file that has the extracted frames

- 1. Arrow buttons are used to reposition an already selected point.

+ button is used to mark a point, and both left and right mouse clicks are possible.

- 2. You can check the color of the set body points.

- 3. This is the space where the image is displayed.

3-1) In + mode, you can change the position on the image by dragging and dropping the mouse. You can zoom by using the wheel of the mouse.

3-2) Multiple selection of points is possible in arrow mode

- 4. You can go to the next image or view the previous image, and it can also be

operated with the keyboard arrow buttons.

- 5. When proceeding in the lock state, points can be taken in order

If you press the lock button to proceed to the unlocked state, you can select a point you want and take a point.

- 6. Save (Ctrl+S)

- 7. Check if the Collected Data CSV, h5 file has been created in the (labeled-data - video name) path.

- Create a training set

- Click the tab in the top that says “Create Training Set”

- All parameters are default and do not need to be changed

- Click “Create Training Dataset” in the bottom right of the interface

- Train the network

- Click “train network” tab at the top

- Three things need to be changed here: display iterations, save iterations, and maximum iterations.

- The following values should be changed to:

  - display iterations=20,000

  - save iterations=50,000

  - maximum iterations= 1,000,000

- Then press Train Network. This can take a variety of time and is all dependent on the labeling and video length. The anaconda prompt will provide an update of how many iterations it has completed every 20,000 iterations

- You can check the progress with a prompt, and when the completion notification window appears, you can click OK to move on to the next

(A large number of display iterations will take a long time to output to the prompt.)

- Evaluate Network

- Click the tab in the top that says “Evaluate network”

- Check both items in the middle

- Then press Evaluate Network in the bottom right

- If successful, the prompt will be filled with all progress.

- Analyze Videos

- Click “analyze video” tab in the top

- Press the “select video” tab and import the videos that you would like analyzed

- Make sure to press “yes” when asked if you want the results saved as a csv (this is the important excel file)

- Click “Analyze Videos” in the bottom right

- If successful, the prompt will be filled with all progress.

- 3 files will be created inside the video folder

- Create Video

- Click “create video” tab in the top tab

- Upload the videos that you have previously uploaded for the analyze video step

  - Normally, the video will be selected automatically, otherwise add the video in the same way as in step 9.

- Check the plot all bodyparts and Draw skeleton checkboxes

- Press the build skeleton button to confirm that the points are well connected, and then close the pop-up window.

- Press the Create videos

- If successful, the prompt will be filled with all progress.

- If successful, a video like the one below will be created.

- OPTIONAL/Dependent on analysis

- If the analysis is good based off of looking at the excel file and visually at the video, these steps are not needed

- If the analysis is not good go to the “extract outlier frames” tab at the top and select the videos that need to be analyzed. Then specify the algorithm. I use manual which opens up a different interface and I am able to go through each frame of the video and determine which frames need to be relabeled. Then press Extract frames.

- In the 0th image, I changed the 4 dots to random positions

- You can see that the position data of the points in the SCV file has changed.

- Before data

- After data

Post Processing

- MATLAB

- Open up MATLAB social code

- Import the excel file generated from DeepLabCut

- Make sure the variables are named properly according to the name of the file

- Alter the social distance that is wanted for the specific simulation

- Run the program

This is not a permanent solution and will be easier to explain in person based off of experience with matlab.

bodyparts:

- nose

- one

- two

- three

- four

- five

- six

- seven

- eight

- tail

start: 0

stop: 1

numframes2pick: 100

skeleton:

- - nose

- one

- - nose

- two

- - nose

- three

- - nose

- four

- - nose

- five

- - nose

- six

- - nose

- seven

- - nose

- eight